| GPW-580PH/NH 1/3" Sony Super HAD CCD Image Sensor 440k/410kPixels(530 TV Lines) Min Illumination:0.01Lux or 0 lux(LED ON) Built-in Coolling Fan&Heater Auto Temperature Control Built-in IR LED(MAX.35M Project Distance) True Day&Night(ICR,IR Cut Filter Removable) Built-in Auto Iris Varifocal Lens(f 3.5~8mm) |  |
| --- | --- |
| Model GPW-580PH GPW-580NH Signal System PAL NTSC Total/Effective Pixels 470K/440K 410K/380K Pick-Up Device 1/3”sony super HAD CCD Lens C/CS Mount Auto Iris Electronic/DC Iris Selectable Signal Process Digital Signal Process Scanning System 2:1Interlace Progressive Sync.System Automatic Internal Scanning Frequency 50Hz 60Hz Resolution 530TV Lines S/N Ratio More than 48 dB Standard Illumination 2000Lux (3200k) Senstivity(1/3 Output) 0.1Lux (F2.0)/0 Lux(IR LED ON) Video Output Signal Composite :1Vp-p Comsite75,Unbalanced Gain Control ON/OFF Selectable Electronic Exposure Electronic Shutter(1/50 - 1/10000) Electronic Shutter(1/60 - 1/10000) White Blance Auto B/W Switch Back Light ON/OFF Selectable Flickerless ON/OFF Selectable Day-Night Function Color，B/W Auto Change,Built-in IR Cut filter Removable Infrared Support Built-in IR LED (MAX.70m Project Distance) 电源输入 DC 12V(±10%)或AC 24V (±10%) Temp Control Built-in cooling FAN & heating Power Source DC 12V(±10%) Power Consumption Less than 230 Operating Temp -10 C ~ 50 C (Humidity:0%RH ~ 80%RH) Storage Temp -20 C ~ 60 C (Humidity:0%RH ~ 80%RH) Weight Approx.2000g Dimensions 366(L)X77(W)X185(H)mm |